## Sheet1
OPERATIONAL AND PREVENTATIVE MAINTENANCE |  | CONDITION
|  | Good | Fair | Poor | Needs Maintenance
Lagoon
a. | Any buildup of scum on pond surface and discharge outlet boxes?
b. | Signs of burrowing animals?
c. | Anaerobic conditions noted by odor and black color?
d. | Water grown weeds?
e. | Dike leakage?
f. | Fence damage?
g. | Ice buildup in winter?
h. | Evidence of short circuiting?
Pump Stations
a. | Remove debris
b. | Check pump operation
c. | Clean floats, bubblers, or other control devices
d. | Check exhaust fan
e. | Check dehumidifier
f. | Check alarms
g. | Check sump pumps
Central Control System
a. | Check timers
b. | Check electrical controls
c. | Check control housing
d. | Check for unprotected electrical connections
OPERATIONAL AND PREVENTATIVE MAINTENANCE |  | CONDITION
|  | Good | Fair | Poor | Needs Maintenance
Aeration Basin
a. | Visually check aeration system for even air distribution, no dead spots
b. | Raise and clean rags from diffusers
c. | Check for air leaks around base and fittings of blower
d. | Check blower belts for wear and tension
e. | Check aeration system for unusual noises or vibration
Clarifier
a. | Sludge blanket depth
b. | Is sludge collection arm turning?
c. | Any floating material on top of clarifier?
d. | Sludge recirculation system
e. | Scum recirculation system
Chlorine Contact Tank
a. | Any floating material?
b. | Any sludge?
c. | Visual check of baffles for proper placement to insure proper chlorine contact time.

## Sheet2
Utility: | [11 empty] | Inspected by:
Month: | [11 empty] | Year:
| Any buildup of scum on pond surface and discharge outlet boxes? |  |  | Signs of burrowing animals? |  |  | Anaerobic conditions noted by odor and/or black color? |  |  | Water grown weeds? |  |  | Dike leakage? |  |  | Fence damage? |  |  | Ice buildup in winter? |  |  | Evidence of short circuiting?
Day | Yes | No | Needs Maintenance | Yes | No | Needs Maintenance | Yes | No | Needs Maintenance | Yes | No | Needs Maintenance | Yes | No | Needs Maintenance | Yes | No | Needs Maintenance | Yes | No | Needs Maintenance | Yes | No | Needs Maintenance
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
(If any inspected element is in need of maintenance, attach documents [such as bids, invoices, etc.] that
support maintenance action taken.)
Additional Comments:
November 30, 2006

## Sheet3
Utility: | [11 empty] | Inspected by:
Month: | [11 empty] | Year:
| Debris? |  |  | Pump operation? |  |  |  | Floats, bubblers, or other control devices clean? |  |  | Exhaust fan? |  |  |  | Dehumidifier? |  |  |  | Alarms? |  |  |  | Sump pumps?
Day | Yes | No | Needs Maintenance | Good | Fair | Poor | Needs Maintenance | Yes | No | Needs Maintenance | Good | Fair | Poor | Needs Maintenance | Good | Fair | Poor | Needs Maintenance | Good | Fair | Poor | Needs Maintenance | Good | Fair | Poor | Needs Maintenance
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
(If any inspected element is in need of maintenance, attach documents [such as bids, invoices, etc.] that
support maintenance action taken.)
Additional Comments:

## Sheet4
Utility:____________________________ | [6 empty] | Inspected by:
Month:___________________________ | [6 empty] | Year:
| Timers? |  |  |  | Electrical controls? |  |  |  | Control housing? |  |  |  | Unprotected electrical connections?
Day | Good | Fair | Poor | Needs Maintenance | Good | Fair | Poor | Needs Maintenance | Good | Fair | Poor | Needs Maintenance | Yes | No | Number | Needs Maintenance
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
(If any inspected element is in need of maintenance, attach documents [such as bids, invoices, etc.]
that support maintenance action taken.)
Additional Comments:

## Sheet5
Utility:____________________________ | [6 empty] | Inspected by:
Month:____________________________ | [6 empty] | Year:
| Even air distribution (any dead spots?) |  |  | Diffusers? |  |  |  | Air leaks around base and fittings of blower? |  |  | Blower belts wear and tension? |  |  |  | Unusual noises or vibration?
Day | Yes | No | Needs Maintenance | Good | Fair | Poor | Needs Maintenance | Yes | No | Needs Maintenance | Good | Fair | Poor | Needs Maintenance | Yes | No | Needs Maintenance
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
(If any inspected element is in need of maintenance, attach documents [such as bids, invoices, etc.]
that support maintenance action taken.)
Additional Comments:

## Sheet6
Utility:____________________________ | [7 empty] | Inspected by:
Month:____________________________ | [7 empty] | Year:
| Sludge blanket depth |  |  |  | Sludge collection arm turning |  |  |  | Any floating material on top of clarifier? |  |  | Sludge recirculation system? |  |  |  | Scum recirculation system?
Day | Good | Fair | Poor | Needs Maintenance | Good | Fair | Poor | Needs Maintenance | Yes | No | Needs Maintenance | Good | Fair | Poor | Needs Maintenance | Good | Fair | Poor | Needs Maintenance
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
(If any inspected element is in need of maintenance, attach documents [such as bids, invoices, etc.]
that support maintenance action taken.)
Additional Comments:

## Sheet7
Utility:____________________________ |  |  |  | Inspected by:
Month:____________________________ |  |  |  | Year:
| Any floating material? |  |  | Any sludge? |  |  | Baffles placement to insure proper chlorine contact time
Day | Yes | No | Needs Maintenance | Yes | No | Needs Maintenance | Good | Fair | Poor | Needs Maintenance
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
(If any inspected element is in need of maintenance, attach documents [such as bids, invoices, etc.]
that support maintenance action taken.)
Additional Comments: